## GameBoard
Transfer Trivia Content Workbook
Click any value tile to jump to its fill-out sheet.
Value | Types of Transfer | Bypass/ Isolation | ASCO Switches | Kohler M340 | Schematics
100 | $100 | $100 | $100 | $100 | $100
200 | $200 | $200 | $200 | $200 | $200
300 | $300 | $300 | $300 | $300 | $300
400 | $400 | $400 | $400 | $400 | $400
500 | $500 | $500 | $500 | $500 | $500
600 | $600 | $600 | $600 | $600 | $600

## Transfer Types_100
Types of Transfer — $100
← RETURN TO GAMEBOARD |  | Edit the highlighted fields below
CLUE IDENTITY
Category | Types of Transfer
Value | 100
Clue ID | cell-1-0
Slide / Type | Slide 5 ¦ Type: standard
EDIT THIS CONTENT
Question | This type of transfer causes a momentary loss of power to the load | Most likely edit
Answer | Open Type Transfer | Most likely edit
Notes |  | Optional notes for future build
MEDIA / FLAGS FOR FUTURE BUILD
Badges |  | Existing metadata
Media Class |  | Existing metadata
Media Files | image1.png | Existing metadata
Question Image? | No | Change to Yes if question needs an image
Answer Image? | No | Change to Yes if answer reveal needs an image
Both Question and Answer? | No | Use Yes only if both sides need visuals
Build Flag |  | Examples: revise, missing image, crop image, verify answer
Quick read: Clue Identity shows what the tile is. Edit This Content is the main text to change. Media / Flags is where you mark image needs for me to use when building the next game.

## Transfer Types_200
Types of Transfer — $200
← RETURN TO GAMEBOARD |  | Edit the highlighted fields below
CLUE IDENTITY
Category | Types of Transfer
Value | 200
Clue ID | cell-2-0
Slide / Type | Slide 10 ¦ Type: standard
EDIT THIS CONTENT
Question | “Motor load/Soft transfer” uses an in-phase monitor and is considered what type of transfer? | Most likely edit
Answer | Open Type Transfer | Most likely edit
Notes |  | Optional notes for future build
MEDIA / FLAGS FOR FUTURE BUILD
Badges |  | Existing metadata
Media Class |  | Existing metadata
Media Files | image1.png | Existing metadata
Question Image? | No | Change to Yes if question needs an image
Answer Image? | No | Change to Yes if answer reveal needs an image
Both Question and Answer? | No | Use Yes only if both sides need visuals
Build Flag |  | Examples: revise, missing image, crop image, verify answer
Quick read: Clue Identity shows what the tile is. Edit This Content is the main text to change. Media / Flags is where you mark image needs for me to use when building the next game.

## Transfer Types_300
Types of Transfer — $300
← RETURN TO GAMEBOARD |  | Edit the highlighted fields below
CLUE IDENTITY
Category | Types of Transfer
Value | 300
Clue ID | cell-3-0
Slide / Type | Slide 15 ¦ Type: standard
EDIT THIS CONTENT
Question | What would happen during a commercial failure if bypassed to normal? | Most likely edit
Answer | Engine would start but no transfer would occur. | Most likely edit
Notes |  | Optional notes for future build
MEDIA / FLAGS FOR FUTURE BUILD
Badges |  | Existing metadata
Media Class |  | Existing metadata
Media Files | image1.png | Existing metadata
Question Image? | No | Change to Yes if question needs an image
Answer Image? | No | Change to Yes if answer reveal needs an image
Both Question and Answer? | No | Use Yes only if both sides need visuals
Build Flag |  | Examples: revise, missing image, crop image, verify answer
Quick read: Clue Identity shows what the tile is. Edit This Content is the main text to change. Media / Flags is where you mark image needs for me to use when building the next game.

## Transfer Types_400
Types of Transfer — $400
← RETURN TO GAMEBOARD |  | Edit the highlighted fields below
CLUE IDENTITY
Category | Types of Transfer
Value | 400
Clue ID | cell-4-0
Slide / Type | Slide 20 ¦ Type: standard
EDIT THIS CONTENT
Question | What is a failure to sync condition? | Most likely edit
Answer | Sources did not get within +/- 5 electrical degrees for over 5 minutes. | Most likely edit
Notes |  | Optional notes for future build
MEDIA / FLAGS FOR FUTURE BUILD
Badges |  | Existing metadata
Media Class |  | Existing metadata
Media Files | image1.png, image2.png | Existing metadata
Question Image? | No | Change to Yes if question needs an image
Answer Image? | No | Change to Yes if answer reveal needs an image
Both Question and Answer? | No | Use Yes only if both sides need visuals
Build Flag |  | Examples: revise, missing image, crop image, verify answer
Quick read: Clue Identity shows what the tile is. Edit This Content is the main text to change. Media / Flags is where you mark image needs for me to use when building the next game.

## Transfer Types_500
Types of Transfer — $500
← RETURN TO GAMEBOARD |  | Edit the highlighted fields below
CLUE IDENTITY
Category | Types of Transfer
Value | 500
Clue ID | cell-5-0
Slide / Type | Slide 25 ¦ Type: troubleshooting
EDIT THIS CONTENT
Question | You’ve lost commercial power. The engine started and stabilized, a transfer to emergency never occurred. Looking at index #2, you see that “Emer voltage” displays “0 vAC.” At the transfer switch You measure EA-phase to EC-phase and read 208vac. What could be the issue? | Most likely edit
Answer | Transformer T2 is open. With no output on the secondary for the processor, the processor will not receive pickup voltage and frequency needed to energize ER and transfer to Emergency. | Most likely edit
Notes |  | Optional notes for future build
MEDIA / FLAGS FOR FUTURE BUILD
Badges | troubleshooting | Existing metadata
Media Class |  | Existing metadata
Media Files |  | Existing metadata
Question Image? | No | Change to Yes if question needs an image
Answer Image? | No | Change to Yes if answer reveal needs an image
Both Question and Answer? | No | Use Yes only if both sides need visuals
Build Flag |  | Examples: revise, missing image, crop image, verify answer
Quick read: Clue Identity shows what the tile is. Edit This Content is the main text to change. Media / Flags is where you mark image needs for me to use when building the next game.

## Transfer Types_600
Types of Transfer — $600
← RETURN TO GAMEBOARD |  | Edit the highlighted fields below
CLUE IDENTITY
Category | Types of Transfer
Value | 600
Clue ID | cell-6-0
Slide / Type | Slide 30 ¦ Type: standard
EDIT THIS CONTENT
Question | During a commercial power fail, which relay energizes after the eg has started? | Most likely edit
Answer | ER | Most likely edit
Notes |  | Optional notes for future build
MEDIA / FLAGS FOR FUTURE BUILD
Badges |  | Existing metadata
Media Class | tt-answer-media-3up | Existing metadata
Media Files | image1.png, image2.png, image3.png | Existing metadata
Question Image? | No | Change to Yes if question needs an image
Answer Image? | No | Change to Yes if answer reveal needs an image
Both Question and Answer? | No | Use Yes only if both sides need visuals
Build Flag |  | Examples: revise, missing image, crop image, verify answer
Quick read: Clue Identity shows what the tile is. Edit This Content is the main text to change. Media / Flags is where you mark image needs for me to use when building the next game.

## Bypass- Isolation_100
Bypass/Isolation — $100
← RETURN TO GAMEBOARD |  | Edit the highlighted fields below
CLUE IDENTITY
Category | Bypass/Isolation
Value | 100
Clue ID | cell-1-1
Slide / Type | Slide 6 ¦ Type: standard
EDIT THIS CONTENT
Question | This type of transfer is also known as accessory 27 | Most likely edit
Answer | Motor Load/ Soft Transfer | Most likely edit
Notes |  | Optional notes for future build
MEDIA / FLAGS FOR FUTURE BUILD
Badges |  | Existing metadata
Media Class |  | Existing metadata
Media Files | image1.png | Existing metadata
Question Image? | No | Change to Yes if question needs an image
Answer Image? | No | Change to Yes if answer reveal needs an image
Both Question and Answer? | No | Use Yes only if both sides need visuals
Build Flag |  | Examples: revise, missing image, crop image, verify answer
Quick read: Clue Identity shows what the tile is. Edit This Content is the main text to change. Media / Flags is where you mark image needs for me to use when building the next game.

## Bypass- Isolation_200
Bypass/Isolation — $200
← RETURN TO GAMEBOARD |  | Edit the highlighted fields below
CLUE IDENTITY
Category | Bypass/Isolation
Value | 200
Clue ID | cell-2-1
Slide / Type | Slide 11 ¦ Type: standard
EDIT THIS CONTENT
Question | What position would the bypass and isolation handle be in stand-by mode? | Most likely edit
Answer | Bypass – Auto Isolation – Closed | Most likely edit
Notes |  | Optional notes for future build
MEDIA / FLAGS FOR FUTURE BUILD
Badges |  | Existing metadata
Media Class |  | Existing metadata
Media Files | image1.png | Existing metadata
Question Image? | No | Change to Yes if question needs an image
Answer Image? | No | Change to Yes if answer reveal needs an image
Both Question and Answer? | No | Use Yes only if both sides need visuals
Build Flag |  | Examples: revise, missing image, crop image, verify answer
Quick read: Clue Identity shows what the tile is. Edit This Content is the main text to change. Media / Flags is where you mark image needs for me to use when building the next game.

## Bypass- Isolation_300
Bypass/Isolation — $300
← RETURN TO GAMEBOARD |  | Edit the highlighted fields below
CLUE IDENTITY
Category | Bypass/Isolation
Value | 300
Clue ID | cell-3-1
Slide / Type | Slide 16 ¦ Type: standard
EDIT THIS CONTENT
Question | Bypass is on auto, isolation is on test, which source is feeding the load? | Most likely edit
Answer | None, the load has been dropped resulting in ATC ZERO | Most likely edit
Notes |  | Optional notes for future build
MEDIA / FLAGS FOR FUTURE BUILD
Badges |  | Existing metadata
Media Class |  | Existing metadata
Media Files | image1.png | Existing metadata
Question Image? | No | Change to Yes if question needs an image
Answer Image? | No | Change to Yes if answer reveal needs an image
Both Question and Answer? | No | Use Yes only if both sides need visuals
Build Flag |  | Examples: revise, missing image, crop image, verify answer
Quick read: Clue Identity shows what the tile is. Edit This Content is the main text to change. Media / Flags is where you mark image needs for me to use when building the next game.

## Bypass- Isolation_400
Bypass/Isolation — $400
← RETURN TO GAMEBOARD |  | Edit the highlighted fields below
CLUE IDENTITY
Category | Bypass/Isolation
Value | 400
Clue ID | cell-4-1
Slide / Type | Slide 21 ¦ Type: standard
EDIT THIS CONTENT
Question | Which toggle switch resets the asco 434 from a “ATS LOCKed OUT”? | Most likely edit
Answer | “ALARM RESET” TGL4 | Most likely edit
Notes |  | Optional notes for future build
MEDIA / FLAGS FOR FUTURE BUILD
Badges |  | Existing metadata
Media Class |  | Existing metadata
Media Files | image1.png | Existing metadata
Question Image? | No | Change to Yes if question needs an image
Answer Image? | No | Change to Yes if answer reveal needs an image
Both Question and Answer? | No | Use Yes only if both sides need visuals
Build Flag |  | Examples: revise, missing image, crop image, verify answer
Quick read: Clue Identity shows what the tile is. Edit This Content is the main text to change. Media / Flags is where you mark image needs for me to use when building the next game.

## Bypass- Isolation_500
Bypass/Isolation — $500
← RETURN TO GAMEBOARD |  | Edit the highlighted fields below
CLUE IDENTITY
Category | Bypass/Isolation
Value | 500
Clue ID | cell-5-1
Slide / Type | Slide 26 ¦ Type: multi
EDIT THIS CONTENT
Question | Manual override, time delay, plant exerciser, volt/frequency, phase sequencer, and in-phase monitor can be enabled or disabled where? What page has the description of all these jumpers? | Most likely edit
Answer | JP-1 TP-5604 Page 1-5 (19) | Most likely edit
Notes |  | Optional notes for future build
MEDIA / FLAGS FOR FUTURE BUILD
Badges | two-part | Existing metadata
Media Class |  | Existing metadata
Media Files | image1.png, image2.png | Existing metadata
Question Image? | No | Change to Yes if question needs an image
Answer Image? | No | Change to Yes if answer reveal needs an image
Both Question and Answer? | No | Use Yes only if both sides need visuals
Build Flag |  | Examples: revise, missing image, crop image, verify answer
Quick read: Clue Identity shows what the tile is. Edit This Content is the main text to change. Media / Flags is where you mark image needs for me to use when building the next game.

## Bypass- Isolation_600
Bypass/Isolation — $600
← RETURN TO GAMEBOARD |  | Edit the highlighted fields below
CLUE IDENTITY
Category | Bypass/Isolation
Value | 600
Clue ID | cell-6-1
Slide / Type | Slide 31 ¦ Type: standard
EDIT THIS CONTENT
Question | On the asco 962, which ts-auxiliary contacts close to provide a transfer to emergency? | Most likely edit
Answer | TS-8/9 and TS-71/72 | Most likely edit
Notes |  | Optional notes for future build
MEDIA / FLAGS FOR FUTURE BUILD
Badges |  | Existing metadata
Media Class |  | Existing metadata
Media Files | image1.png | Existing metadata
Question Image? | No | Change to Yes if question needs an image
Answer Image? | No | Change to Yes if answer reveal needs an image
Both Question and Answer? | No | Use Yes only if both sides need visuals
Build Flag |  | Examples: revise, missing image, crop image, verify answer
Quick read: Clue Identity shows what the tile is. Edit This Content is the main text to change. Media / Flags is where you mark image needs for me to use when building the next game.

## ASCO_100
ASCO Switches — $100
← RETURN TO GAMEBOARD |  | Edit the highlighted fields below
CLUE IDENTITY
Category | ASCO Switches
Value | 100
Clue ID | cell-1-2
Slide / Type | Slide 7 ¦ Type: standard
EDIT THIS CONTENT
Question | What type of transfer happens in an asco 434 when there is a loss of commercial/normal power | Most likely edit
Answer | Open Type Transfer | Most likely edit
Notes |  | Optional notes for future build
MEDIA / FLAGS FOR FUTURE BUILD
Badges |  | Existing metadata
Media Class |  | Existing metadata
Media Files | image1.png | Existing metadata
Question Image? | No | Change to Yes if question needs an image
Answer Image? | No | Change to Yes if answer reveal needs an image
Both Question and Answer? | No | Use Yes only if both sides need visuals
Build Flag |  | Examples: revise, missing image, crop image, verify answer
Quick read: Clue Identity shows what the tile is. Edit This Content is the main text to change. Media / Flags is where you mark image needs for me to use when building the next game.

## ASCO_200
ASCO Switches — $200
← RETURN TO GAMEBOARD |  | Edit the highlighted fields below
CLUE IDENTITY
Category | ASCO Switches
Value | 200
Clue ID | cell-2-2
Slide / Type | Slide 12 ¦ Type: standard
EDIT THIS CONTENT
Question | Which device will allow/disallow a technician to isolate? | Most likely edit
Answer | SL-2 | Most likely edit
Notes |  | Optional notes for future build
MEDIA / FLAGS FOR FUTURE BUILD
Badges |  | Existing metadata
Media Class |  | Existing metadata
Media Files | image1.png | Existing metadata
Question Image? | No | Change to Yes if question needs an image
Answer Image? | No | Change to Yes if answer reveal needs an image
Both Question and Answer? | No | Use Yes only if both sides need visuals
Build Flag |  | Examples: revise, missing image, crop image, verify answer
Quick read: Clue Identity shows what the tile is. Edit This Content is the main text to change. Media / Flags is where you mark image needs for me to use when building the next game.

## ASCO_300
ASCO Switches — $300
← RETURN TO GAMEBOARD |  | Edit the highlighted fields below
CLUE IDENTITY
Category | ASCO Switches
Value | 300
Clue ID | cell-3-2
Slide / Type | Slide 17 ¦ Type: standard
EDIT THIS CONTENT
Question | What is feature 5 on asco switches? | Most likely edit
Answer | Transfer Test TGL1 | Most likely edit
Notes |  | Optional notes for future build
MEDIA / FLAGS FOR FUTURE BUILD
Badges |  | Existing metadata
Media Class |  | Existing metadata
Media Files | image1.png | Existing metadata
Question Image? | No | Change to Yes if question needs an image
Answer Image? | No | Change to Yes if answer reveal needs an image
Both Question and Answer? | No | Use Yes only if both sides need visuals
Build Flag |  | Examples: revise, missing image, crop image, verify answer
Quick read: Clue Identity shows what the tile is. Edit This Content is the main text to change. Media / Flags is where you mark image needs for me to use when building the next game.

## ASCO_400
ASCO Switches — $400
← RETURN TO GAMEBOARD |  | Edit the highlighted fields below
CLUE IDENTITY
Category | ASCO Switches
Value | 400
Clue ID | cell-4-2
Slide / Type | Slide 22 ¦ Type: standard
EDIT THIS CONTENT
Question | According to the picture of the led diagnostic bar, what is 9c telling us? | Most likely edit
Answer | All three phases of commercial have been accepted by the control panel. | Most likely edit
Notes |  | Optional notes for future build
MEDIA / FLAGS FOR FUTURE BUILD
Badges |  | Existing metadata
Media Class |  | Existing metadata
Media Files | image1.png | Existing metadata
Question Image? | No | Change to Yes if question needs an image
Answer Image? | No | Change to Yes if answer reveal needs an image
Both Question and Answer? | No | Use Yes only if both sides need visuals
Build Flag |  | Examples: revise, missing image, crop image, verify answer
Quick read: Clue Identity shows what the tile is. Edit This Content is the main text to change. Media / Flags is where you mark image needs for me to use when building the next game.

## ASCO_500
ASCO Switches — $500
← RETURN TO GAMEBOARD |  | Edit the highlighted fields below
CLUE IDENTITY
Category | ASCO Switches
Value | 500
Clue ID | cell-5-2
Slide / Type | Slide 27 ¦ Type: standard
EDIT THIS CONTENT
Question | Which prompt would you receive on the LCD Display if the attempted entry is outside of allowable numeric range? | Most likely edit
Answer | “RANGE ERROR” | Most likely edit
Notes |  | Optional notes for future build
MEDIA / FLAGS FOR FUTURE BUILD
Badges |  | Existing metadata
Media Class |  | Existing metadata
Media Files | image1.png | Existing metadata
Question Image? | No | Change to Yes if question needs an image
Answer Image? | No | Change to Yes if answer reveal needs an image
Both Question and Answer? | No | Use Yes only if both sides need visuals
Build Flag |  | Examples: revise, missing image, crop image, verify answer
Quick read: Clue Identity shows what the tile is. Edit This Content is the main text to change. Media / Flags is where you mark image needs for me to use when building the next game.

## ASCO_600
ASCO Switches — $600
← RETURN TO GAMEBOARD |  | Edit the highlighted fields below
CLUE IDENTITY
Category | ASCO Switches
Value | 600
Clue ID | cell-6-2
Slide / Type | Slide 32 ¦ Type: multi
EDIT THIS CONTENT
Question | What is the input and output of the ts bridge rectifier that feeds the ts-coil? | Most likely edit
Answer | 208VAC (Nominal Voltage) in Approx. 198VDC out | Most likely edit
Notes |  | Optional notes for future build
MEDIA / FLAGS FOR FUTURE BUILD
Badges | two-part | Existing metadata
Media Class |  | Existing metadata
Media Files | image1.png, image2.png | Existing metadata
Question Image? | No | Change to Yes if question needs an image
Answer Image? | No | Change to Yes if answer reveal needs an image
Both Question and Answer? | No | Use Yes only if both sides need visuals
Build Flag |  | Examples: revise, missing image, crop image, verify answer
Quick read: Clue Identity shows what the tile is. Edit This Content is the main text to change. Media / Flags is where you mark image needs for me to use when building the next game.

## M340_100
Kohler M340 — $100
← RETURN TO GAMEBOARD |  | Edit the highlighted fields below
CLUE IDENTITY
Category | Kohler M340
Value | 100
Clue ID | cell-1-3
Slide / Type | Slide 8 ¦ Type: standard
EDIT THIS CONTENT
Question | On an asco 434, what type of transfer is initiated by the technician using feature 6b? | Most likely edit
Answer | Closed Type Transfer | Most likely edit
Notes |  | Optional notes for future build
MEDIA / FLAGS FOR FUTURE BUILD
Badges |  | Existing metadata
Media Class |  | Existing metadata
Media Files | image1.png | Existing metadata
Question Image? | No | Change to Yes if question needs an image
Answer Image? | No | Change to Yes if answer reveal needs an image
Both Question and Answer? | No | Use Yes only if both sides need visuals
Build Flag |  | Examples: revise, missing image, crop image, verify answer
Quick read: Clue Identity shows what the tile is. Edit This Content is the main text to change. Media / Flags is where you mark image needs for me to use when building the next game.

## M340_200
Kohler M340 — $200
← RETURN TO GAMEBOARD |  | Edit the highlighted fields below
CLUE IDENTITY
Category | Kohler M340
Value | 200
Clue ID | cell-2-3
Slide / Type | Slide 13 ¦ Type: standard
EDIT THIS CONTENT
Question | Which device will allow/disallow a technician to Bypass? | Most likely edit
Answer | SL-1 | Most likely edit
Notes |  | Optional notes for future build
MEDIA / FLAGS FOR FUTURE BUILD
Badges |  | Existing metadata
Media Class |  | Existing metadata
Media Files | image1.png | Existing metadata
Question Image? | No | Change to Yes if question needs an image
Answer Image? | No | Change to Yes if answer reveal needs an image
Both Question and Answer? | No | Use Yes only if both sides need visuals
Build Flag |  | Examples: revise, missing image, crop image, verify answer
Quick read: Clue Identity shows what the tile is. Edit This Content is the main text to change. Media / Flags is where you mark image needs for me to use when building the next game.

## M340_300
Kohler M340 — $300
← RETURN TO GAMEBOARD |  | Edit the highlighted fields below
CLUE IDENTITY
Category | Kohler M340
Value | 300
Clue ID | cell-3-3
Slide / Type | Slide 18 ¦ Type: standard
EDIT THIS CONTENT
Question | On an asco 434, which relay when energized allows closed transition transfers? | Most likely edit
Answer | CTR | Most likely edit
Notes |  | Optional notes for future build
MEDIA / FLAGS FOR FUTURE BUILD
Badges |  | Existing metadata
Media Class |  | Existing metadata
Media Files | image1.png | Existing metadata
Question Image? | No | Change to Yes if question needs an image
Answer Image? | No | Change to Yes if answer reveal needs an image
Both Question and Answer? | No | Use Yes only if both sides need visuals
Build Flag |  | Examples: revise, missing image, crop image, verify answer
Quick read: Clue Identity shows what the tile is. Edit This Content is the main text to change. Media / Flags is where you mark image needs for me to use when building the next game.

## M340_400
Kohler M340 — $400
← RETURN TO GAMEBOARD |  | Edit the highlighted fields below
CLUE IDENTITY
Category | Kohler M340
Value | 400
Clue ID | cell-4-3
Slide / Type | Slide 23 ¦ Type: standard
EDIT THIS CONTENT
Question | On a kohler m340, what does the “Contactor position” led indicate? | Most likely edit
Answer | Which source the ATS is transferred to. | Most likely edit
Notes |  | Optional notes for future build
MEDIA / FLAGS FOR FUTURE BUILD
Badges |  | Existing metadata
Media Class |  | Existing metadata
Media Files | image1.png, image2.png, image3.png | Existing metadata
Question Image? | No | Change to Yes if question needs an image
Answer Image? | No | Change to Yes if answer reveal needs an image
Both Question and Answer? | No | Use Yes only if both sides need visuals
Build Flag |  | Examples: revise, missing image, crop image, verify answer
Quick read: Clue Identity shows what the tile is. Edit This Content is the main text to change. Media / Flags is where you mark image needs for me to use when building the next game.

## M340_500
Kohler M340 — $500
← RETURN TO GAMEBOARD |  | Edit the highlighted fields below
CLUE IDENTITY
Category | Kohler M340
Value | 500
Clue ID | cell-5-3
Slide / Type | Slide 28 ¦ Type: standard
EDIT THIS CONTENT
Question | You initiate a transfer, none occurs. Which prompt would be shown on the LCD display? | Most likely edit
Answer | “TRANSFER HANG” | Most likely edit
Notes |  | Optional notes for future build
MEDIA / FLAGS FOR FUTURE BUILD
Badges |  | Existing metadata
Media Class |  | Existing metadata
Media Files | image1.png | Existing metadata
Question Image? | No | Change to Yes if question needs an image
Answer Image? | No | Change to Yes if answer reveal needs an image
Both Question and Answer? | No | Use Yes only if both sides need visuals
Build Flag |  | Examples: revise, missing image, crop image, verify answer
Quick read: Clue Identity shows what the tile is. Edit This Content is the main text to change. Media / Flags is where you mark image needs for me to use when building the next game.

## M340_600
Kohler M340 — $600
← RETURN TO GAMEBOARD |  | Edit the highlighted fields below
CLUE IDENTITY
Category | Kohler M340
Value | 600
Clue ID | cell-6-3
Slide / Type | Slide 33 ¦ Type: standard
EDIT THIS CONTENT
Question | On the group 7 controller, where can you measure Normal B phase? | Most likely edit
Answer | ASCO 962 = J1<W11> P1 ASCO 434 = J6 <W11> P6 | Most likely edit
Notes |  | Optional notes for future build
MEDIA / FLAGS FOR FUTURE BUILD
Badges |  | Existing metadata
Media Class | tt-answer-media-2x2 | Existing metadata
Media Files | image1.png, image2.png, image3.png, image4.png | Existing metadata
Question Image? | No | Change to Yes if question needs an image
Answer Image? | No | Change to Yes if answer reveal needs an image
Both Question and Answer? | No | Use Yes only if both sides need visuals
Build Flag |  | Examples: revise, missing image, crop image, verify answer
Quick read: Clue Identity shows what the tile is. Edit This Content is the main text to change. Media / Flags is where you mark image needs for me to use when building the next game.

## Schematics_100
Schematics — $100
← RETURN TO GAMEBOARD |  | Edit the highlighted fields below
CLUE IDENTITY
Category | Schematics
Value | 100
Clue ID | cell-1-4
Slide / Type | Slide 9 ¦ Type: standard
EDIT THIS CONTENT
Question | What type of transfer is make before break? | Most likely edit
Answer | Closed Type Transfer | Most likely edit
Notes |  | Optional notes for future build
MEDIA / FLAGS FOR FUTURE BUILD
Badges |  | Existing metadata
Media Class |  | Existing metadata
Media Files | image1.png | Existing metadata
Question Image? | No | Change to Yes if question needs an image
Answer Image? | No | Change to Yes if answer reveal needs an image
Both Question and Answer? | No | Use Yes only if both sides need visuals
Build Flag |  | Examples: revise, missing image, crop image, verify answer
Quick read: Clue Identity shows what the tile is. Edit This Content is the main text to change. Media / Flags is where you mark image needs for me to use when building the next game.

## Schematics_200
Schematics — $200
← RETURN TO GAMEBOARD |  | Edit the highlighted fields below
CLUE IDENTITY
Category | Schematics
Value | 200
Clue ID | cell-2-4
Slide / Type | Slide 14 ¦ Type: multi
EDIT THIS CONTENT
Question | What two criteria are required to bypass to a source | Most likely edit
Answer | Source must be available Transfer switch on that source | Most likely edit
Notes |  | Optional notes for future build
MEDIA / FLAGS FOR FUTURE BUILD
Badges | two-part | Existing metadata
Media Class |  | Existing metadata
Media Files | image1.png, image2.png | Existing metadata
Question Image? | No | Change to Yes if question needs an image
Answer Image? | No | Change to Yes if answer reveal needs an image
Both Question and Answer? | No | Use Yes only if both sides need visuals
Build Flag |  | Examples: revise, missing image, crop image, verify answer
Quick read: Clue Identity shows what the tile is. Edit This Content is the main text to change. Media / Flags is where you mark image needs for me to use when building the next game.

## Schematics_300
Schematics — $300
← RETURN TO GAMEBOARD |  | Edit the highlighted fields below
CLUE IDENTITY
Category | Schematics
Value | 300
Clue ID | cell-3-4
Slide / Type | Slide 19 ¦ Type: standard
EDIT THIS CONTENT
Question | What is an extended parallel condition? | Most likely edit
Answer | When both sources are parallel to the load for over 500 milliseconds. | Most likely edit
Notes |  | Optional notes for future build
MEDIA / FLAGS FOR FUTURE BUILD
Badges |  | Existing metadata
Media Class |  | Existing metadata
Media Files | image1.png | Existing metadata
Question Image? | No | Change to Yes if question needs an image
Answer Image? | No | Change to Yes if answer reveal needs an image
Both Question and Answer? | No | Use Yes only if both sides need visuals
Build Flag |  | Examples: revise, missing image, crop image, verify answer
Quick read: Clue Identity shows what the tile is. Edit This Content is the main text to change. Media / Flags is where you mark image needs for me to use when building the next game.

## Schematics_400
Schematics — $400
← RETURN TO GAMEBOARD |  | Edit the highlighted fields below
CLUE IDENTITY
Category | Schematics
Value | 400
Clue ID | cell-4-4
Slide / Type | Slide 24 ¦ Type: standard
EDIT THIS CONTENT
Question | What is the purpose of k1? | Most likely edit
Answer | Initiate a load test. | Most likely edit
Notes |  | Optional notes for future build
MEDIA / FLAGS FOR FUTURE BUILD
Badges |  | Existing metadata
Media Class |  | Existing metadata
Media Files | image1.png | Existing metadata
Question Image? | No | Change to Yes if question needs an image
Answer Image? | No | Change to Yes if answer reveal needs an image
Both Question and Answer? | No | Use Yes only if both sides need visuals
Build Flag |  | Examples: revise, missing image, crop image, verify answer
Quick read: Clue Identity shows what the tile is. Edit This Content is the main text to change. Media / Flags is where you mark image needs for me to use when building the next game.

## Schematics_500
Schematics — $500
← RETURN TO GAMEBOARD |  | Edit the highlighted fields below
CLUE IDENTITY
Category | Schematics
Value | 500
Clue ID | cell-5-4
Slide / Type | Slide 29 ¦ Type: standard
EDIT THIS CONTENT
Question | How are the schematics drawn? | Most likely edit
Answer | De-energized with Main Load carrying contacts closed to normal. | Most likely edit
Notes |  | Optional notes for future build
MEDIA / FLAGS FOR FUTURE BUILD
Badges |  | Existing metadata
Media Class |  | Existing metadata
Media Files | image1.png | Existing metadata
Question Image? | No | Change to Yes if question needs an image
Answer Image? | No | Change to Yes if answer reveal needs an image
Both Question and Answer? | No | Use Yes only if both sides need visuals
Build Flag |  | Examples: revise, missing image, crop image, verify answer
Quick read: Clue Identity shows what the tile is. Edit This Content is the main text to change. Media / Flags is where you mark image needs for me to use when building the next game.

## Schematics_600
Schematics — $600
← RETURN TO GAMEBOARD |  | Edit the highlighted fields below
CLUE IDENTITY
Category | Schematics
Value | 600
Clue ID | cell-6-4
Slide / Type | Slide 34 ¦ Type: troubleshooting
EDIT THIS CONTENT
Question | While attempting a transfer to emergency, the transfer does not occur. Troubleshooting, you measure from ea to Bridge-A and read 0VAC. Measuring EC to Bridge-b and read 0VAC. Measuring across Bridge-A to bridge-B and you read 208vac. Checking the output you read 198vdc. What could be the issue? | Most likely edit
Answer | TS Coil Faulty | Most likely edit
Notes |  | Optional notes for future build
MEDIA / FLAGS FOR FUTURE BUILD
Badges | troubleshooting | Existing metadata
Media Class |  | Existing metadata
Media Files | image1.png, image1a.png, image1b.png, image1c.png, image1d.png | Existing metadata
Question Image? | No | Change to Yes if question needs an image
Answer Image? | No | Change to Yes if answer reveal needs an image
Both Question and Answer? | No | Use Yes only if both sides need visuals
Build Flag |  | Examples: revise, missing image, crop image, verify answer
Quick read: Clue Identity shows what the tile is. Edit This Content is the main text to change. Media / Flags is where you mark image needs for me to use when building the next game.